## Slide 1
DESIGN OF MODBUS GATEWAY ON MONITORING SYSTEMS WITH MODBUS PROTOCOL
FINAL SEMINAR
BY
ELECTRONIC ENGINEERING
FAHRIAN M RAFLI
2122500038
ARDIK WIJAYANTO, S.T., M.T.
NIP. 197706202002121002
ADVISOR 1
TAUFIQURRAHMAN, S.ST., M.T.
NIP. 198309202008121001
ADVISOR 2

## Slide 2
RESEARCH BACKGROUND
One of the main challenges in developing monitoring systems is the need to integrate multiple devices with varying protocols. This complexity increases with the increasing number and types of sensors used in industrial environments.

## Slide 3
FORMULATION OF THE PROBLEM
How to read Slave using Modbus RTU then convert it to Modbus TCP.
How to build a system that can stably read multiple Slaves.
How to build a Dashboard to display data on Modbus Gateway.

## Slide 4
SCOPE
The communication modes used in this project are Modbus RTU and Modbus TCP.
The data displayed on the Dashboard is only 3 Nodes with various parameters, but can be connected to 3 more Modbus devices.
Modbus sensor data will be processed and sent to firebase and Node-Red for Modbus TCP.

## Slide 5
PROJECT GOAL
The expected output is a Modbus Gateway that is able to receive data from various Slaves using Modbus RTU communication which will then be sent to Firebase and also formatted into Modbus TCP. The System is designed to be able to communicate with various Modbus sensors that are connected

## Slide 6
NODE UNIVERSAL
RS485
BLOCK DIAGRAM SYSTEM
PZEM-004T
NODE-RED
DASHBOARD
XY-MD02
MODBUS GATEWAY
SLAVE AREA
MASTER AREA

## Slide 7
A+
B-
NODE 1
PM1200
WATER QUALITY SENSOR
TEMPERATURE SENSOR

## Slide 8
SLAVE
MAIN BLOCK DIAGRAM
ESP32-S3
JSON
REALTIME DASHBOARD
REQUEST DATA FROM FIREBASE
TTL TO RS485
CONVERTER
SDCARD
RTC
SPI
I2C
MODBUS TCP
TCP CLIENT

## Slide 9
FLOWCHART

## Slide 10
NODE UNIVERSAL REGISTER AND FORMAT
Power Meter 3-Phase PM1200
Water Quality Sensor
Temperature Sensor

## Slide 11
PZEM-004T REGISTER AND FORMAT

## Slide 12
XY-MD02 REGISTER AND FORMAT

## Slide 13
MODBUS TCP ADDRESS

## Slide 14
HARDWARE DESIGN

## Slide 15
DASHBOARD
Dashboard Firebase
Dashboard Node-RED

## Slide 16
FIELD TESTING

## Slide 17
DATA TESTING
Power Meter 3-Phase PM1200

## Slide 18
DATA TESTING
Water Quality Sensor

## Slide 19
DATA TESTING
Temperature Sensor

## Slide 20
DATA TESTING

## Slide 21
CONCLUSION
  Modbus Gateway successfully read data from various Slaves (PM1200, Water Quality Sensor, Temperature Sensor, PZEM-004T, XY-MD02) stably, and supported flexible connections via Universal Node.
  The system showed consistent reading for 10 minutes, although there was a temporary disruption to the Temperature Sensor due to the sending process to Firebase.
  The Serial configuration was successfully changed with an average time of 2.8 seconds (Firebase) and a delay of 3.7 seconds (Node-RED).
  The Universal Node configuration was also successfully changed, with an average delay of 2.8 seconds (Firebase) and 6.7 seconds (Node-RED).
  The system successfully sent offline data when the connection was restored, with an average speed of 192.29 data/s.
  The Write Single Register function to change the Slave ID worked well, with an average failure detection time of 19 seconds (Firebase) and 11 seconds (Node-RED).
  Baudrate testing shows that the higher the baudrate, the faster the response time in reading data.
  The Modbus data reading speed by the system was recorded at 10.3 bytes/s.